Form 10.11. Installation checklist: Disinfection - ultraviolet light.

Client name: 	 Reference #:

Permit(s) #:

Completed by: 	 Time: 	 Date:

1.	Component description:

a.  	Manufacturer:

Model #:

b.  	Flow rating:

PDR:

c.   	Dosing method:         	( Pressure dosed     	( Gravity fed

2.	Housing	 installation

a.	Location  	 ( Buried    	( Within a tank

b.	Unit stable   			( Yes

c.	Unit level/plumb			( Yes

d.	Protected from freezing, heat, dust, vandals	( Yes

e.	Unit watertight			( Yes

f.	If buried:

i.    Compacted base			( Yes

ii.   Bedding material used:

g.	Grab handle needed and secured  			( Yes

3.	Electrical conduit, splice, or junction box(es)

a.   	Installed for UV unit and controls		( Yes

b.  	Sealed and watertight penetrations		( Yes

c. 	Adequate cable length provided for servicing unit	( Yes

d.	Cord locks tightened 			( Yes

e.	Splice box lid(s) tightened			( Yes

f.    Power supply   	( AC    	(  DC	Voltage:

g.	GFCI protected circuit			( Yes

4.	Controls

a.  	Panel manufacturer:

Model:

b.  	Telemetry present            		( Yes	( NA

Type:

Owner(s) advised about telemetry operation	( Yes

5.	Installed according to manufacturer’s specifications    	( Yes

AC = alternating current

DC = direct current

GFCI = ground fault circuit interrupter

PDR = pump delivery rate

UV = ultraviolet

# Text boxes

Comments: