Form 10.2. Startup checklist:  Media filters

Client name: 	 Reference #:

Permit(s) #:

Completed by: 	 Company:

Completed by: 	 Company:

Time: 	 Date:

1. 	Type of media filter:

Single pass:  	( Sand	( 	Foam	( 	Peat		Other:

Recirculating:	( Sand/gravel	(	Foam	( Textile  	( Peat	Other:

Trickling filter:	( Gravel	(	Plastic	Other:

Upflow filter: 	( Sand/gravel	(	Wood chips	Other:

( Generic

( Proprietary:

Manufacturer:

Model #:

( Manufacturer-assembled

( Contractor-assembled

2.		Cover

a.		Type of cover:	( Free access	( Buried	( Lid

b.		Cover conforms to design		(  Yes

i.	Type:

ii.	Crowned			(  Yes

c.		Filter cover intact and operable				(  Yes

d.		Lid secured       					(  Yes 	( NA

e.		Protected from stormwater flow				(  Yes

f. 	Access points insulated				(  Yes		( NA

3.    Container/Liner:   	( Wood	( Concrete	( Fiberglass

( Plastic  	(  PVC

(  Other	( Not viewable (buried)

4.	Venting/Air supply:	( Passive  	( Active

a.		Supply:		( Fan			( Free air (go to 5)	( Venturi

( Aspirator		( Compressor				( Blower

b.		Operation:  	( Continuous			( Timed (ON 			min., OFF 		 min)

c.		Pressure at air supply unit:			 psi			( NA

d.		Air flow at air supply unit:				 cfm			( NA

e.		Air filter/screen installed:   			( Yes		( NA

5.	Effluent distribution:

a.		Distribution method:

( Pressure:           ( Pump	( Siphon

( Gravity:             ( Trickle flow	( Tipping d-box

b.		Distribution component accessible           			      ( Yes		( No

c.		Pressure distribution description:

i.  	Delivery method

( Orifice shield  	( Helical nozzle	( Splash plate

( Chamber 	( Gravel

ii.	Operational data

| Lateral # | Operating pressure (ft.) | Lateral spacing (in.) | Orifice diameter (in.) | Orifice spacing (in.) | Orifice orientation (6:00 or 12 o’clock) | Lateral drainage present (Y/N) | Lateral access (Y/N) |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |

6.    Media dosing pump

a.    ON duration: 				 min

b.	Pump delivery rate (PDR):				 gpm

c.    OFF duration: 				 min

d.    ON / OFF durations within manufacturer specifications  	( Yes	( NA

e.    Initial cycle counter reading:

f.    	Initial elapsed time meter (ETM) reading: 	hours/min

7.	Additional tasks for recirculating filters

a.	Recirculation method:	( Splitter ball valve	( Weir-controlled	( Dam/divider

( Recirculation berm  	( Valve-controlled   	( D-box	( Other:

b.    Recirculation ratio: 	:

( Based upon assumed forward flow of: 	 gpm

( Based upon known forward flow of:  	 gpm

i.  Source of flow data:

8.    Additional tasks for trickling filters

a.	Solids return pump present    		( Yes	( NA

(	Pump delivery rate (PDR):					gpm

(	Pump ON duration:				 min

- Frequency of return:		 times per day/week

(	Initial cycle counter reading:

(	Initial elapsed time meter (ETM) reading: 		 hours/min

b.	Effluent return pump present	( Yes	( NA

(	Pump delivery rate (PDR):					 gpm

(	Pump ON duration:				 min

- Frequency of return:		 times per day/week

- Initial cycle counter reading:

- Initial elapsed time meter (ETM) reading: 		 hours/min

9.    Manufacturer/generic startup procedures followed:	 ( Yes	( NA

10.  Additional notes:

ETM = elapsed time meter

gpm = gallons per minute

NA = not applicable

PDR = pump delivery rate

# Text boxes

Comments:

Comments: