Form 10.4. Startup checklist:  Aerobic Treatment Unit

Client name: 	 Reference #:

Permit(s) #:

Completed by: 	 Time:	 Date:

1.	Type of aerobic treatment unit:

( Suspended-growth   	( Attached-growth  		( Sequencing batch reactor

( Combination attached/suspended-growth		( Adaptive mechanical aerator

( Rotating biological contactor	  				( Other:

a.	Manufacturer:

Model :

b.  	Material

( Concrete       ( Fiberglass       ( Plastic/Poly      ( Other:

c.	Manufacturer hydraulic rating: 	        					gpd

d.	Manufacturer organic rating: 					lbs/day (BOD5, CBOD)

e. 	Dosing method

( Demand       ( Timed

i.	If timed,

( Manufacturer integrated flow equalization

( Contractor constructed flow equalization

f.	Manufacturer’s load bearing rating: 		(psf or maximum burial depth)

g.  	Sealant visible in tank seams:                           	( NA	( Yes  	( No

h.  	Tanks level  					( Yes  	( No

i.   	Watertightness testing certification  		( NA	( Yes  	( No

2. 	Final cover

a. 	Depth to top of tank: 			in.

( Does not exceed maximum specification

b. 	Material:

c. 	Sloped to allow for settling and shedding water 		( Yes  	( No

3. Insulation								( NA

(  Tank

(  Access riser

(  Lid

4.	Aerobic treatment unit access

a.	Access risers and lids on tank			( Yes  	( No

Riser manufacturer:

Model #:

Lid manufacturer:

Model #:

b.	Located at grade					( Yes  	( No

If ‘No’, depth below grade 		 in.

c.	Lids in operable condition			( Yes  	( No

d.	Lids secure					( Yes  	( No

5.	Piping

a. 	Piping in appropriate sequence/slope (inlet/outlet) 			(

b.	Pipe specifications entering tank:

c.  	Pipe specifications exiting tank:

d.	Pipe penetrations sealed (including air pipe)				(

e.	Electrical conduit and junction boxes sealed				(

6.	Venting/Air supply

a.	Air supply method:

( Aspirator	( Aerator    ( Compressor    ( Blower    ( Free air (go to 6.g)

( Venturi	( Other:

b.	Operation:  	( Continuous	( Timed (on: 			  min, off:	    		  	     min)

c.	Air supply unit operating properly			( Yes  	( No

d.	Pressure at air supply unit:							 psi

e.	Air flow at air supply unit:								 cfm

f.	Air filter/screen present:   	                            	( Yes  	( No

g.	Air vents to:

h.	Air venting operable:	                            	( Yes  	( No

7.	Aeration chamber						( NA

a.	Mixing in aeration chamber				( Yes  	( No

b.	Diffusers operating				( NA	( Yes  	( No

8.	Clarification chamber 			( NA

a.	Type:  	( Clarifier	( Settling tank 	( Filtration

b.	Effluent screen/tertiary filter present	 		( NA	( Yes  	( No

c.	Inspection plugs in place	 			( NA	( Yes  	( No

d.	High water alarm operating	 			( NA	( Yes  	( No

9.	Sludge return approach:	( Passive    	( Active			( NA

a.	If active

Pump manufacturer:

Pump model:

Pump operating properly 				( NA	( Yes  	( No

Run time:

10.	 Control panel:     					( NA

a.	Controls operating properly 			( Yes  	( No

b.	Is enclosure watertight			( Yes  	( No

c.	Alarm test switch operating properly			( NA	( Yes  	( No

d.	Alarm types:	( Air pressure	( High water    	( Telemetry

e.	Alarms operating							( Yes  	( No

f.	Alarm elapsed time meter present			( Yes  	( No

If present, reading:

g.	Alarm cycle counter present				( Yes  	( No

If present, reading:

h.	Battery backup charged					( NA	( Yes  	( No

i.	Telemetry operable					( NA	( Yes  	( No

j.	Sensor manufacturer:

Model #:

11. 	Manufacturer startup procedures followed:                       	( Yes  	( No

ATU = Aerobic treatment unit

BOD5 = 5-day Biochemical oxygen demand

CBOD = Carbonaceous biochemical oxygen demand

cfm = cubic feet per minute

gpm = gallons per minute

psf = pounds per square foot

psi = pounds per square foot

# Text boxes

Comments:

Comments: