Form 10.8. Startup checklist:  Lagoon

Client name: 	 Reference #:

Permit(s) #

Completed by: 	 Time: 	 Date:

1. 	Lagoon specifications:

a.	Type:  	(  Aerobic 	(  Facultative	( Partial-mixed aerated	( Anaerobic

b.	Dimensions:						 	ft  x  	  		ft

2.	Liner

a.	Liner material:

3. 	Influent distribution

a. 	Distribution method:	( Pressure	( Gravity

b.	Describe the inlet configuration:

c.	Pipe penetrates liner:		( Yes  	( No

4.	Water level management

a.	Water outfall level below top of berm: 					ft

b.	Initial water level relative to inlet: 					in.

( Above 		( Below

c.	Initial water level relative to: 	(  Outlet	( Berm 			in.

( Above 		( Below

d.	Water level control option available		( Yes  	( No

e. 	Depth marker installed.		( Yes  	( No

5.	Berm and border around lagoon

a.	Type of berm material:

b.	Border berm contains an emergency spillway		( Yes  	( No

c.	Border berm material limits water entering			(

d.	Land clear area around lagoon meets specifications			(

e.	Land surface graded to promote runoff			(

f	Border berm protected from erosion			(

g.	Fence present with lockable gate           	( NA	( Yes  	( No

h. 	Gate is locked prior to departure.		( Yes  	( No

6.	Sampling location:

# Text boxes

Comments: