Form 11.3. Installation checklist:  Evapotranspiration bed

Client name: 	 Reference #:

Permit(s) #:

Completed by: 	 Time: 	 Date:

1.	ET bed descriptions

( Lined		( Unlined

If lined, liner material:

a.	Number of beds:

b.	Bed dimensions

Bed 1:

Bed 2:

2.	Site preparation & considerations

a.	Utility location completed 					(

b.	Stake ET bed soil treatment area footprint				(

c.	Soil treatment area dimensions

i.	Width:

ii. 	Length:

d.    Confirm system elevations						(

Difference between ET Bed and treatment tank outlet: 			ft

e.	Remove vegetation in footprint			( NA	( Yes	( No

f.	Soil moisture content

i.	Soil too dry for construction			( Yes	( No

ii.	Soil too wet for construction			( Yes	( No

3.	Distribution to ET bed

a.	Method of distribution:

( Gravity		( Pressure-dosed gravity

b.	Type: 	( Distribution box  	( Drop box  	( Header

( Pressure manifold   	( Other:

c.	Distribution device accessible				( Yes	( No

4.	Switching valves    			( NA

a.    Valve specifications:

b.	Installation

i.	Bedding:

ii.	Accessible:  	( Valve box     	( Pipe with cap

iii. 	Access elevation

(  To grade   	(  Above grade 				in.

(  Below grade 				in.

iv. 	Stabilized      					(

5.	ET bed installation

a.	Equipment/method/means of excavation:

b.	Water present in excavation 			( Yes	( No

( If yes, dewater

c.	ET bed bottom graded to specifications			( Yes	( No

d.	Media

i.	Media type

( Chamber

Manufacturer:

Model:

( Polystyrene aggregate

Manufacturer:

( Washed rock

Type:

Source:

( Clean

( Properly graded

( Other

Type:

Source:

( Clean

( Properly graded

ii.	Total media depth:

inches above the distribution pipe 				in. below

iii.	Amount of media used:

e.	Distribution system installed				(

f.	Geotextile fabric placed over media			(	( NA

g.	Sand wicks installed between distribution media			(

Sand specifications:

Amount required:

6.	Cover

a.	Cover material specifications:

b.	Surface mounded/graded to shed rain water			(

c.	Vegetation planted					(

7.     Inspection ports  	 				(  NA

a.	Specification

Type:

Diameter:						in.

Perforations: 	( Slots     	( Holes

b.    Accessible:  	( Valve box     	( Pipe with cap

c.    Access elevation

(  To grade   	( Above grade 		in.

( Below grade 		in.

d.    Stabilized      				(

# Text boxes

Comments:

Comments: