Form 11.7. Installation checklist:  Spray field.

Client name: 	 Reference #:

Permit(s) #:

Completed by: 	 Time: 	 Date:

1.	Distribution approach

a.	Zones:  		( Single   	( Multiple: #

b.	Distribution control:  ( Demand dosed   ( Timed dosed

c.	In-line filter in distribution heads		( NA	( Yes	( No

i.	Filter type:

ii.	Filter manufacturer:

iii.	Model number:

2.	Site preparation & considerations

a.	Utility location completed				(

b.	Layout spray field zones				(

c.    Confirm system elevations				(

Elevation difference between spray field and pump

discharge assembly: 			ft

d.    Confirm horizontal setback distances			(

e.	Manage vegetation in footprint		( NA	( Yes	( No

f.	Grade soil surface in footprint		( NA	( Yes	( No

g.	Soil moisture content

i.	Soil too dry for construction		( Yes	( No

ii.	Soil too wet for construction		( Yes	( No

3.	Alternating/switching valves 				( NA

a.	Valve specifications:

b.	Installation

i.	Bedding:

ii.	Accessible:  	( Valve box     ( Other:

iii. 	Access elevation

(  To grade   (  Above grade 	in.   (  Below grade 	in.

iv. 	Stabilized      					(

v.	Valve box insulated 				(    	( NA

4. 	Piping/Installation

a.	Installation method

( Backhoe  	(  Static plow 	(  Trencher	(  Other:

b.	Supply line

i. 	Specification:

ii.	Length:

iii.	Drainage: 	( Drainback	( Draindown  	( Remains in pipe

c.	Manifold/submain

i. 	Specification:

ii.	Drainage:  	( Drainback  	( Draindown 	 ( Remains in pipe

d.	Laterals

i. 	Specification:

ii.	Configuration:     	( Side    ( Herringbone  	( Other:

iii.	Drainage:  	( Drainback	( Draindown  	( Remains in pipe

5.	Distribution heads

- Riser description

(  Swing joint	( Flexible nipple	( Flexible pipe connection	(  Other:

b.	Distribution head specification:

| Zone (#) | Head (#) | Data | Operation (impact, rotor, spray) | Pattern | Low angle nozzle | Low- pressure drain/shut-off valve | Riser/head protected |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Manufacturer | Model # |  |  |  |  |  |

6.	Control panel

a.	Panel manufacturer:

Model #:

b.	Photocell installed					( NA	( Yes	( No

c.	Rainfall shutoff device installed			( NA	( Yes	( No

7.	Public health considerations

a.	Disinfection unit installed 				( Yes	( No

Type of disinfection:

(Attach the corresponding form.)

b.	Color coding				( Yes	( No

c.	Signage				( NA	( Yes	( No

d.	Fencing				( NA	( Yes	( No

e.	Zone distance to property line:		 ft

8.	Final landscaping

a.	Soil surface material specifications:

b.	Surface sloped to shed rainwater 			(

c.	Surrounding landscape graded to prevent stormwater runon			(

d.	Vegetation covering site/planted				(

9.  	Manufacturer’s required installation performed?		( Yes	( No

(If Yes, attach the Manufacturer’s Inspection form to this report, if supplied.)

# Text boxes

Comments:

Comments: