Form 6.1 Installation checklist:  Planning.

Client name: 							 Reference #:

Permit(s) #:

Completed by: 						 Time: 		 Date:

1.    Initial design/plan review (office):

a.	Plan provided       						( Yes 	( No

( Approved	(  Draft		(  Includes special considerations

b.	Plan complete       						( Yes 	( No

( All components specified	(  Component size specified

( Component location specified	(  Maintainability of components

c. 	Soil and site evaluation report attached			( Yes 	( No

d. 	Hydraulic loading specified       				( Yes 	( No

Design flow: 			 gal per day

Peak flow:

e. 	Organic loading specified       				( Yes 	( No

( Residential (assumed) 				( Commercial (assumed)

(  Specification: 				 (mg/L or lbs. BOD/TSS/FOG per day)

f. 	Tank buoyancy calculation provided       				( Yes 	( No

g.	Treatment train components:

Tanks:

( Septic/Trash/Processing (tank): 			 ( Pump: Timed dosed system:

( Pump: Demand dosed system: 			 ( Holding tank:

( Dosing tank(s): 				 	 ( Other:

Advanced treatment components:

( Disinfection unit: 				 ( Aerobic treatment unit:

( Constructed wetland: 				 ( Media filter:

( Other:

Final treatment and dispersal components:

( Trench/Bed – gravity:					 ( Drip field:

( Evapotranspiration bed:

( Trench/Bed – Low pressure distribution: 			 ( Spray field:

( Mound system:

( Bottomless media filter:					 ( Other:

h.	Electrical service

( Single-phase 120V	( Single-phase 240V

( 3-phase 240/120V	( 3-phase 208/120V

i.	Is design constructible?							( Yes 	( No

( Treatment train components available

2.	Site review (at site with plan)

a.	Planning document matches site                     		( Yes 	( No

b	Topography evaluation

i.  Does topography limit construction? 			( Yes 	( No

ii. Intended area for treatment system is:

( Water shedding			( Water gathering

c.	Drainage: 	( Surface/gravity	( Subsurface/gravity		( Subsurface/pump

d.	Monitoring well present                            		( NA 	( Yes 	( No

e.	Drinking water source identified 			( NA 	( Yes 	( No

f.	Existing improvement constraints	  			( NA	( Yes 	( No

if yes, please describe:

g. 	Vegetation / Obstruction management			( Yes 	( No

if yes, please describe:

h.  	Tree/landscaping removal requirements			( Yes 	( No

if yes, please describe:

i.	Soil condition limitations						( Yes 	( No

if yes, please describe:

j.	Soil treatment area(s) clearly marked & protected 		(

k.	Plumbing stub-out elevation  ( Existing		    ( From design

l.	Site layout allows for:

(  Construction access

(  Maintenance access

(  Topography does not hamper construction

(  Horizontal separations match design

(  Vertical separations match design

(  Components/parts located in traffic zones

If no, please describe:

m.	Electical service verified						( Yes 	( No

3. 	Owner interview during site/plan review

a.  	Homeowner preliminary meeting conducted (date):

b.	Proposed surface improvements identified?

( Driveways		( Buildings   		( Garden

( Irrigation system  	( Landscaping plan   	( Swimming pools

( Stormwater plan  	( Rainwater harvesting   	( Livestock

( Other:

c.	Limit of disturbance described 					(

d.	Spoil and construction debris management discussed 		(

e.	Identification of neighbors for communication 		( Yes 	( No

f.	Return visit for final site grading 				( Yes 	( No

g.	O&M and monitoring requirements 				( Yes 	( No

h. 	Abandonment of existing components 		( NA	( Yes 	( No

if yes, please describe:

i.	Replacement of existing improvements 		( NA	( Yes 	( No

if yes, please describe:

4.	Components of a bid

a.	Material take-off 							( Yes 	( No

b.	Material source identification & costs			( Yes 	( No

c.	Site restoration requirements 					( Yes 	( No

d.	Special equipment required 					( Yes 	( No

e.	Subcontractors 							( Yes 	( No

f.	Regulatory issues 						( Yes 	( No

g.	Other site specific items						( Yes 	( No

h.	Bonding/Insurance requirements 				( Yes 	( No

i.	Payment plan specified 						( Yes 	( No

5.	Construction planning:

a.	Permits received:

( Type: 	 Permit #:

( Type: 	 Permit #:

( Type: 	 Permit #:

b.	Scheduled date for installation:

c.	Utilities line locate ordered					(

d. 	Inspection(s) scheduled						(

e.	Scheduling of other professionals

( Site clearing		( Electrician   		( Excavation

( Irrigation   		( Fencing   			( Pumping

( Spoil removal  		( Soil/gravel delivery   	( Landscaper

( Surveyor			( Crane/lifting contractor	( Pot-holing contractor

( Arborist			( Other:

f. 	Cooperation/scheduling with other trades 			( Yes 	( No

g.	Component preassembly required 				( Yes 	( No

h.	Have components been ordered					( Yes 	( No

i.	Site specific safety plan developed				( Yes 	( No

j.	Bonding/insurance secured					( Yes 	( No

k.	Payment plan implemented  					( Yes 	( No

6.	Construction staging:

a.	Utilities line located 						(

Confirmation number(s): 						Date:

b.	Materials storage area clearly defined			(

c.	Spoils collection area defined					(

d.	Water available at construction site			( Yes 	( No

e.	Electricity present for testing components			( Yes 	( No

f.	Weather forecast for installation day			(

g.	Are all components and tools available 			( Yes 	( No

7.	Job scheduling:

a.	Construction notification to local regulatory entity		(	( NA

b.	Utility marking still valid                                              		(

c	Needed equipment available for site			(

d. 	Construction materials available for site			(

e. 	Equipment secured for transport to site			(

f. 	Personnel available for construction			(

g. 	Weather conditions appropriate for construction		(

8.	Job staging

a.	Bench mark identified 					(

b.    Property lines identified 						(

c.	Utility location verified						(

d.	Topography/drainage pattern verified 			(

e.	Plumbing stub-out elevation verified    		  	at

f.	System components staked out and verified			(

g.	Horizontal set-backs verified 					(

( Private wells 				 ft	( Water lines 			 ft	( Sharp slopes 	  	 ft

(	Public wells				 ft 	( Easements 			 ft	( Surface water 	 ft

( Property lines				 ft	( Structures 			 ft	( Swimming pools 	 ft

( Wetlands				 ft

( Other:

9.	Final inspection plan:

# Text boxes

Comments:

Comments:

Comments:

Comments: