# Form 8.1 Installation checklist: Piping.

Client name: 	 Reference #:

Permit(s) #:

Completed by: 		 Time:					 Date:

1. 	Plumbing piping (stub-out)

a. 	Type

b.	Diameter									 in.

c.	Elevation

d.	Cleanouts					( Yes  	( No

e. 	Connection method to piping

f. 	Flow 			( Gravity	( Pressure			( Combination

2.	Pipe to first tank (building sewer)

a.	Type

b.	Diameter									 in.

c.    Total length									 ft.

d.	Cleanouts					( Yes  	( No

i.	Method: 	( Single direction	( Two directional

ii.	Number:

e. 	Elevation

i.	Flow 	( Gravity		( Pressure			( Combination

ii.	Beginning:

iii.	Entering tank:

iv.	Slope	( 1” in 8’	( 1” in 4’	( Other

v.	Slope break in pipe					( NA

A. Elevation drop									 in.

B. Method of grade adjustment

C. Number of grade adjustments

D. Cleanout at top of grade adjustment					(

f.  	Insulated                          ( NA	( Yes, method:

g.	Pipe cutting

i.	Method:    (  PVC pipe cutter      (  Hand saw     (  Chop saw

ii.	Cuts do not compromise diameter 							(

iii.	Cut ends:

A.	Cut square 							(

B.	Free of ridges							(

C. 	Deburred							(

D. 	Beveled							(

h.	Embedment method

i.     Foundation                     						( NA

A.	Material:

B.	Depth:

C.	Compaction method:

ii.    Bedding

A.	Material:

B.	Depth:

C.	Compaction method:

iii.   Haunching

A.	Material:

B.	Depth:

C.	Compaction method:

iv.   Initial backfill

A.	Material:

B.	Depth:

C.	Compaction method:

v.    Final backfill

A.	Material:

B.	Depth:

C.	Compaction method:

i.	Connections

i. 	Method: 	( Solvent weld	( Threaded		( Mechanical joints

( Gasket	Other:

ii.	If solvent weld:

A.	Weather conditions

B.	Primer used

Brand/type:

C.   	Glue

Brand/type:

Set/cure time:

D.	Appropriate glue used for pipe

specifications and weather conditions						(

iii. 	If threaded connection:

A. 	Thread connection tape used						(

B. 	Method used to tighten

j. 	Pressure tested      			( NA			( Yes

3.	Pipe between tanks

a.	Type

b.	Diameter									 in.

c.  	Total length									 ft.

d.	Cleanouts					( Yes  	( No

i.	Method 	( Single direction		( Two directional

ii.	Number:

e. 	Elevation

i.	Flow 	( Gravity	( Pressure		( Combination

ii.	Exiting tank:

- Entering tank:

- Slope	( 1” in 8’	( 1” in 4’		( Other:

vi.	Slope break in pipe							( NA

A.	Elevation drop									 in.

B.	Method of grade adjustment

C.	Number of grade adjustments

D.	Cleanout at top of grade adjustment					(

f.  	Insulated                          ( NA		( Yes, method:

g.	Pipe cutting

i.	Method:    (  PVC pipe cutter      (  Hand saw     (  Chop saw

ii.	Cuts do not compromise diameter 							(

iii.	Cut ends:

A.   Cut square 							(

B.	Free of ridges							(

C. 	Deburred							(

D. 	Beveled							(

h.	Embedment method

i.     Foundation                     						( NA

A.	Material:

B.	Depth:

C.	Compaction method:

ii.    Bedding

A.	Material:

B.	Depth:

C.	Compaction method:

iii.   Haunching

A.	Material:

B.	Depth:

C.	Compaction method:

iv.   Initial backfill

A.	Material:

B.	Depth:

C.	Compaction method:

v.    Final backfill

A.	Material:

B.	Depth:

C.	Compaction method:

i.	Connections

i. 	Method: 	( Solvent weld	( Threaded		( Mechanical joints

( Gasket	( Other:

ii.	If solvent weld:

A.	Weather conditions

B.	Primer used							(

Brand/type:

C.   	Glue

Brand/type:

Set/cure time:

D.	Appropriate glue used for pipe

specifications and weather conditions						(

iii. 	If threaded connection:

A. 	Thread connection tape used						(

B. 	Method used to tighten

4.	Pipe to final treatment and dispersal

a.	Type

b.	Diameter									in.

c.  	Total length									ft

d.	Cleanouts					( Yes  	( No

i.	Method: 	( Single direction		( Two directional

ii.	Number:

e. 	Elevation

i.	Flow 	( Gravity	( Pressure		( Combination

ii.	Exiting tank:

- Entering tank:

- Slope	( 1” in 8’	( 1” in 4’		( Other:

v.	Slope break in pipe							( NA

A.	Elevation drop									 in.

B.	Method of grade adjustment

C.	Number of grade adjustments

D.	Cleanout at top of grade adjustment					(

f.  	Insulated                          ( NA	( Yes, method:

g.	Pipe cutting

i.	Method:    (  PVC pipe cutter      	(  Hand saw     	(  Chop saw

ii.	Cuts do not compromise diameter 							(

iii.	Cut ends:

A. 	Cut square 							(

B.	Free of ridges							(

C. 	Deburred							(

D. 	Beveled							(

h.	Embedment method

i.     Foundation                     		( NA

A.	Material:

B.	Depth:

C.	Compaction method:

ii.    Bedding

A.	Material:

B.	Depth:

C.	Compaction method:

iii.   Haunching

A.	Material:

B.	Depth:

C.	Compaction method:

iv.   Initial backfill

A.	Material:

B.	Depth:

C.	Compaction method:

v.    Final backfill

A.	Material:

B.	Depth:

C.	Compaction method:

i.	Connections

i. 	Method: 	( Solvent weld	( Threaded		( Mechanical joints

( Gasket	Other:

ii.	If solvent weld:

A.	Weather conditions

B.	Primer used							(

Brand/type:

C.	Glue

Brand/type:

Set/cure time:

D.	Appropriate glue used for pipe

specifications and weather conditions						(

iii. 	If threaded connection:

A. 	Thread connection tape used						(

B. 	Method used to tighten

j.	If pressure, thrust blocks used			( NA	( Yes 		( No

k.    Sleeved in larger diameter pipe   		( NA	( Yes, Type:

l. 	Pressure tested      			( NA	( Yes

5.    Recirculation or return pipe			( NA			(

a.	Type

b.	Diameter									in.

c. 	Total length									ft

d.	Cleanouts					( Yes  	( No

i.	Method 	( Single direction		( Two directional

ii.	Number:

e. 	Elevation

i.	Flow 	( Gravity	( Pressure		( Combination

ii.	Exiting tank:

- Entering tank:

- Slope	( 1” in 8’	( 1” in 4’		( Other:

f.  	Insulated                          ( NA		( Yes, method:

g.	Pipe cutting

i.	Method:    (  PVC pipe cutter      		(  Hand saw    	 (  Chop saw

ii.	Cuts do not compromise diameter 							(

iii.	Cut ends:

A.   Cut square 							(

B.	Free of ridges							(

C. 	Deburred							(

D. 	Beveled							(

h.	Embedment method

i.     Foundation                     		( NA

A.	Material:

B.	Depth:

C.	Compaction method:

ii.    Bedding

A.	Material:

B.	Depth:

C.	Compaction method:

iii.   Haunching

A.	Material:

B.	Depth:

C.	Compaction method:

iv.   Initial backfill

A.	Material:

B.	Depth:

C.	Compaction method:

v.    Final backfill

A.	Material:

B.	Depth:

C.	Compaction method:

i.	Connections

i. 	Method: 	( Solvent weld	( Threaded		( Mechanical joints

( Gasket		Other:

ii.	If solvent weld:

A.	Weather conditions

B.	Primer used							(

Brand/type:

C.   	Glue

Brand/type:

Set/cure time:

D.	Appropriate glue used for pipe

specifications and weather conditions						(

iii. 	If threaded connection:

A. 	Thread connection tape used						(

B. 	Method used to tighten

# Text boxes

Comments:

Comments:

Comments:

Comments:

Comments: